North Bergen Official Fence Codes

4.8- Fences- No fence in the front of a principal building shall be permitted to higher than four (4) feet. No fence in the rear of such building shall exceed a height of six (6) feet. The finished side of a fence shall face away from the building.